| Section 1: Logistics and installation considerations |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Potential Hazard |  | YES |  | NO |  |  | N/A |  | Addressed by: |  |
| Delivery, storage and installation |  |  |  |  |  |  |  |  |  |  |
| 1 | Is the item to be permanently connected to any building service? e.g. water, compressed gas, compressed air, electricity or air/dust extraction |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk. Consultation with P&F Client Facilities Manager required>> |  |
| 2 | Will the item be delivered during standard work hours? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 3 | Is sufficient safe storage space available for the item prior to installation and commissioning? e.g. ensure fire exits will not be blocked |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 4 | Is there sufficient physical space to house, install and operate the item at the intended location? Ensure new hazards won’t be created e.g. blocked walkways or exits |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 5 | Can the item be safely transported to its location, including in the building lift? Consider size and weight, incl. people and small spaces. Will it fit through corridors, doorways and around corners? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 6 | Can the item be used without a stand, specifically designed bench, or other supporting structure required for safe installation and use? i.e. consider if there is a stable base that can support the weight of the plant |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 7 | Is installation by a competent person included in the quote? Note any licenses required, e.g. electrical, plumbing etc |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 8 | All equipment required for installation or delivery is supplied by the vendor or delivery agent? e.g. forklift, crane, trolleys, tools |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 9 | Are existing services such as gas, vacuum or compressed air available and adequate for the item? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 10 | Is the item to be installed in a standard facility? e.g. not within a PC2 laboratory, Biosecurity AA, animal facility, clinic room or workshop |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 11 | Is the load capacity of the structural flooring sufficient for the weight of plant/equipment? If unsure, ask your Building Manager or P&F Client Services Manager |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| Electrical requirements |  |  |  |  |  |  |  |  |  |  |
| 1 | Is adequate power supply already available? e.g. 15 Amp, 20 Amp, 3-phase |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 2 | Is the equipment designed to be plugged into electrical power supply? i.e. will not be hardwired to electrical power |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 3 | Does the item come with an Australian power plug and have a Regulatory Compliance Mark (RCM)? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 4 | Can the equipment run without a backup or uninterruptable power system? e.g. is the equipment safe during power loss |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 5 | Does the vendor state that the item is compliant with AS/NZS 3820 Essential safety requirements for electrical equipment? e.g. if importing equipment or obtaining pre-used equipment |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 7 | Is the equipment safe to operate without additional electrical protection for the facility? e.g. does need specific RCD protection, cardiac protection (clinic rooms), etc |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| General considerations |  |  |  |  |  |  |  |  |  |  |
| 1 | Is the item fit-for-purpose? e.g. manufactured for commercial, industrial or research applications? Items designed for home use may not be suitable |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 2 | Is the equipment supplied with required consumables, adaptors or other components that are industry standard? e.g. cables, sensors, adaptors, scientific labware |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 3 | Is the item to be used for the same purpose for which it was designed? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 4 | Are safety switches or emergency shutdown switches built in? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 5 | Are lockout and isolation points built in? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 6 | Is the equipment supplied with required consumables, adaptors or other components that are industry standard? e.g. cables, sensors, adaptors, scientific labware |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 7 | Has the vendor stated that the item is compliant with required Australian Standards and Codes of Practice? Seek advice from your local area WHSC to identify relevant Standards and/or Codes of Practice. |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 8 | Is a user manual available in English? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 9 | Are requirements (including costs) for safe decommissioning and disposal of the equipment at end-of-life understood and acceptable? e.g. degassing of refrigerants, removal of radiation sources |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 10 | Is existing lighting in the area adequate for the operation of the item? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 11 | Will there be sufficient access for repair and maintenance once installed? e.g. consider location of access panels, cable connections |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 12 | Is existing security adequate to prevent unauthorised access? e.g. swipe card access to room or key locks on equipment is not required |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 13 | Is the item compatible with existing activities, substances and equipment? i.e. does not introduce a new hazard |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| Training and Competency |  |  |  |  |  |  |  |  |  |  |
| 1 | Are special skills required for people who operate the plant or carry out inspection and maintenance? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 2 | Has a comprehensive training package and method of assessment been developed to inspect, shut-down, clean, repair and maintain, access and operate the plant? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 3 | Is there a system of authorisation to operate the plant? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| Section 2: Licensing, permits and registration considerations |  |  |  |  |  |  |  |  |  |  |
| Potential Hazard |  | YES |  | NO |  |  | N/A |  | Addressed by: |  |
| 1 | Is the item registrable plant? e.g. lifts, cooling towers |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 2 | Is a certificate, permit or license required to possess, acquire, verify installation, use/operate or transport or dispose the item? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| Section 3: Inspection, maintenance, repair and cleaning |  |  |  |  |  |  |  |  |  |  |
| Potential Hazard |  | YES |  | NO |  |  | N/A |  | Addressed by: |  |
| 1 | Has UQ Properties & Facilities been notified of the plant? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 2 | Has the item been added to a university preventative maintenance schedule, with defined inspection and service intervals based on manufacturer’s recommendations? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 3 | Has sufficient access for inspection, maintenance, repair and cleaning once installed been allowed? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 4 | Has adequate means to isolate power, disengage and de-energise prior to inspection, maintenance, repair and cleaning? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| Section 4: Specialised hazards |  |  |  |  |  |  |  |  |  |  |
| Potential Hazard |  | YES |  | NO |  |  | N/A |  | Addressed by: |  |
| 1 | Is the item powered mobile plant? i.e. car, forklift, quad bike |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 2 | Does it require use of hazardous chemicals or biologicals that are not already in routine use in the facility? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 3 | Does the item contain asbestos? e.g. within the mechanism or as insulation? |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 4 | Does the equipment include hydraulic or pneumatic systems? i.e. complies with Aust. Standards |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 5 | Does the item have hazardous parts likely to cause injury? Ensure adequate guarding is included. |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |
| 6 | Does the item produce hazardous dusts, fumes, noise or waste? i.e. consider if additional engineering controls such as ventilation are required |  |  |  |  |  |  |  | <<Provide additional information about acceptability of potential risk>> |  |